## How to use
Inspection Readiness Checklist
A self-assessment of how ready your quality system is for an FDA or MHRA inspection — can you produce the evidence, fast?
Purpose | Rehearse an inspection before it happens. For each thing an inspector typically asks for, confirm whether you can produce it, where it lives, and how quickly — because retrieval time is itself a signal to an investigator.
How to score | Set Status to Ready (you can produce complete, current evidence within minutes), Gap (you cannot, or it takes too long / is incomplete), or N/A (does not apply to your operation). Note the location and the realistic retrieval time, and name an owner.
Reading your result | The checklist tab auto-counts your Ready / Gap / N/A totals. Every Gap is a live-inspection risk — a record you cannot produce on request reads as a record you do not control. Close Gaps and re-run before any scheduled or for-cause inspection.
Scope | Covers the quality-system evidence inspectors probe across FDA and MHRA inspections: the QMS itself, documents and records, CAPA, deviations, change control, complaints, training, audits, supplier oversight, data integrity, validation, and the logistics of the inspection itself.
Note | This checklist is a readiness aid, not legal advice or a guarantee of inspection outcome. Tailor the items to your product type and applicable regulations with your quality team.
Start | Open the "Inspection Readiness" tab and work through each item.
About | A working aid from Complere (complere.tech). It does not by itself make any record or organisation compliant — adapt it to your own QMS procedures and have QA approve the adapted version.
See it live | See how Complere covers these controls in one governed, inspection-ready workflow — request a demo at complere.tech/request-demo.
Template version | v1.0 (2026-08) — record this reference on the completed record so the revision used is traceable.
© 2026 Complere · complere.tech — see how Complere covers this in a governed, inspection-ready workflow: complere.tech/request-demo

## Inspection Readiness
Inspection Readiness Checklist
For each item, mark Ready / Gap / N-A and note where the evidence lives and how fast you can produce it. Totals update automatically below.
# | Area | What an inspector typically asks for | Status | Where it lives / retrieval time | Owner
1 | Quality system | The current quality manual or QMS description showing scope, processes, and how they interact.
2 | Quality system | An organisation chart and role descriptions showing responsibilities and delegations for quality-critical functions.
3 | Quality system | The last two management reviews and their action items, with owners and current status.
4 | Documents | The current effective version of any requested SOP, its revision history, and evidence the users are trained on that version.
5 | Documents | Any controlled record (protocol, report, record) retrieved within minutes — complete, legible, and clearly the current version.
6 | CAPA | The full CAPA log, and for a chosen CAPA: its source, investigation, actions, effectiveness check, and closure.
7 | Deviations | The deviation log, and for a chosen deviation: the investigation, risk assessment, disposition, and any CAPA linkage.
8 | Change control | The change-control log, and for a chosen change: the impact assessment, approvals, and completion evidence.
9 | Complaints | The complaint log, and for a chosen complaint: the investigation, reportability decision, and any CAPA linkage.
10 | Training | For a named employee: their training curriculum, completion records, and evidence of competence for their tasks.
11 | Internal audit | The internal-audit schedule, the most recent audit report, its findings, and the CAPAs that closed them.
12 | Suppliers | The approved-supplier list, and for a chosen supplier: the qualification and ongoing-monitoring records.
13 | Data integrity | The audit trail for a chosen electronic record — who did what and when — and evidence that audit trails are reviewed.
14 | Access control | The user-access list for a critical system, the roles assigned, and evidence of periodic access review.
15 | Validation | The validation or qualification status of a critical system or instrument, with the current report available.
16 | Equipment | For a critical instrument: its calibration and maintenance records, current and in date.
17 | Nonconformance | How nonconforming material or product is identified, segregated, and dispositioned, with a recent example.
18 | Release | The release procedure, and for a chosen batch or lot: the release decision and the records it relied on.
19 | Field action | The recall or field-action procedure and evidence of a mock recall or actual field action within the retention period.
20 | Logistics | A defined front-room / back-room process, named SMEs and scribes, and a way to track and time every document request during the inspection.
Readiness summary
Ready
Gap
N/A
Total | 20
© 2026 Complere · complere.tech — see how Complere covers this in a governed, inspection-ready workflow: complere.tech/request-demo