## Instructions
ISO 13485:2016 Internal Audit Checklist
Instructions - read before use
Purpose | Structure an internal audit against ISO 13485:2016 clause by clause. Prompts are paraphrased audit questions - they reference the standard but do not reproduce its text. Use alongside your controlled copy of the standard.
How to use | Filter to the clauses in scope for this audit. For each row record what you sampled, what you found, a conformity rating, and (for findings) the finding ID raised in your quality system. Under the QMSR (effective 2026-02-02) FDA investigators may review internal audit records - keep entries factual and complete.
Field guidance
Clause | ISO 13485:2016 clause reference.
Audit prompt | Paraphrased question to probe conformity. Adapt to your processes.
Evidence sampled | Documents / records / interviews actually examined, with IDs.
Rating | Conforming / Minor NC / Major NC / Observation / Not audited.
Finding ID | Identifier of the nonconformity or observation raised, if any.
Notes | Context a reviewer needs - keep objective.
This template is a working aid from Complere (complere.tech). It does not by itself make any record or organization compliant - adapt it to your own QMS procedures and have QA approve the adapted version.

## Audit Checklist
ISO 13485:2016 Internal Audit Checklist
Worked example in row 5 (italic) - replace with your own records.
Clause | Audit prompt (paraphrased) | Evidence sampled | Rating | Finding ID | Notes
4.2.4 | Are documents controlled - approved before issue, current versions at points of use? | SOP register sample (5 SOPs); shop-floor copy check, line 1 | Minor NC | NC-2026-008 | One obsolete WI found at station 4; removed during audit
4.1 | Are QMS processes, their sequence and interactions defined - including outsourced processes and the role of risk?
4.1.6 | Is software used in the QMS validated for its intended use, with records of the validation approach?
4.2.3 | Is the medical device file complete for each device type/family?
4.2.4 | Are documents controlled - approved before issue, current versions at points of use, obsolete versions prevented from unintended use?
4.2.5 | Are records legible, identifiable, retrievable, and retained for the defined period?
5.1 | Can top management show evidence of commitment - quality policy, objectives, resource provision?
5.4 | Are quality objectives measurable and consistent with the policy?
5.5 | Are responsibilities, authorities, and the management representative role defined and communicated?
5.6 | Are management reviews conducted at planned intervals with the required inputs, and do outputs drive action?
6.1 | Are resources for the QMS determined and provided?
6.2 | Is personnel competence established, training effective, and effectiveness evaluated where required?
6.3 | Is infrastructure (buildings, process equipment, supporting services) defined and maintained?
6.4 | Are work environment and contamination-control requirements defined where they affect product quality?
7.1 | Is product realization planned, including risk management activities per the documented process?
7.2 | Are customer/product requirements determined, reviewed, and communication channels defined?
7.3.2 | Is design and development planned with stages, reviews, verification, validation, and transfer defined?
7.3.3 | Are design inputs complete, unambiguous, and verifiable - including risk management outputs?
7.3.5 | Are design reviews conducted with required participants and records kept?
7.3.6 | Does design verification confirm outputs meet inputs, with records of methods and results?
7.3.7 | Does design validation use representative product under defined operating conditions, before delivery?
7.3.8 | Is design transfer to manufacturing controlled and verified?
7.3.9 | Are design changes reviewed, verified, validated as appropriate, and approved before implementation?
7.4.1 | Are suppliers evaluated and selected on defined criteria, with risk-proportionate controls and re-evaluation?
7.4.3 | Is purchased product verified, and are changes from suppliers handled?
7.5.1 | Is production controlled - work instructions, equipment, monitoring, release activities defined?
7.5.6 | Are processes whose output cannot be fully verified validated, with criteria, equipment, personnel, and revalidation defined?
7.5.8 | Is product identified through realization, and is identification status maintained?
7.5.9 | Is traceability maintained to the extent required - more for implantables?
7.5.11 | Is product preserved during processing, storage, handling, and distribution?
7.6 | Is monitoring/measuring equipment calibrated, with action defined when equipment is found out of calibration?
8.2.1 | Is feedback gathered from production and post-production and fed into risk management?
8.2.2 | Are complaints handled per the documented procedure, investigated, and regulatory reporting evaluated?
8.2.3 | Are regulatory reporting obligations (vigilance, adverse events) met with records?
8.2.4 | Is the internal audit program planned by status/importance, with impartial auditors and follow-up on findings?
8.2.6 | Is product monitored and measured at planned stages, and is release authorization recorded?
8.3 | Is nonconforming product identified, controlled, and dispositioned - including concessions and rework with records?
8.4 | Is data analyzed (feedback, conformity, trends, suppliers) and used as a management review input?
8.5.2 | Do corrective actions address causes, with effectiveness verified and timescales commensurate with risk?
8.5.3 | Do preventive actions address potential causes, with effectiveness verified?